WORK PACKAGE SUPPORTING DOCUMENTS

MS-SPG-008 — Static Pile Load Testing

| Project | [Insert project name] | Document No. | MS-SPG-008-WP |
| --- | --- | --- | --- |
| Contractor | [Insert contractor] | Revision | 0 |
| Location | [Insert location] | Date | [DD/MM/YYYY] |
| Prepared by | [Name / Position] | Approved by | [Name / Position] |

This editable workbook must be adapted to the contract, approved drawings, project specification, actual site conditions, materials, equipment and authority requirements.

# 1. Inspection and Test Plan (ITP)

| Activity | Inspection / Test | Acceptance Criteria | Responsibility | H/W | Record |
| --- | --- | --- | --- | --- | --- |
| Approve the test standard, reaction design, load cycle, acceptance criteria, exclusion zone and contingency plan. | Test and reaction design | Approved drawings, specification and submission | Site Engineer / QA/QC | H | IR / Checklist / Test Record |
| Verify test-pile age and strength and independently inspect reaction beams, anchors, kentledge and foundations. | Setup inspection | Approved drawings, specification and submission | Site Engineer / QA/QC | W | IR / Checklist / Test Record |
| Install centred jacks, load cells and displacement gauges on stable reference beams outside the influence zone. | Instrumentation | Approved drawings, specification and submission | Site Engineer / QA/QC | W | IR / Checklist / Test Record |
| Apply seating load and test increments at the specified rate, holding each stage until reading criteria are met. | Loading sequence | Approved drawings, specification and submission | Site Engineer / QA/QC | W | IR / Checklist / Test Record |
| Record load, time, settlement, rebound and environmental conditions and stop at defined safety triggers. | Readings and triggers | Approved drawings, specification and submission | Site Engineer / QA/QC | W | IR / Checklist / Test Record |
| Unload in controlled stages, inspect the setup and issue plotted results and the Engineer's acceptance report. | Report | Approved drawings, specification and submission | Site Engineer / QA/QC | H | IR / Checklist / Test Record |

# 2. HIRARC

| Activity | Hazard | Consequence | Control | PIC |
| --- | --- | --- | --- | --- |
| Approve the test standard, reaction design, load cycle, acceptance criteria, exclusion zone and contingency plan. | Reaction failure | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Verify test-pile age and strength and independently inspect reaction beams, anchors, kentledge and foundations. | Kentledge collapse | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Install centred jacks, load cells and displacement gauges on stable reference beams outside the influence zone. | Stored hydraulic energy | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Apply seating load and test increments at the specified rate, holding each stage until reading criteria are met. | Sudden pile movement | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Record load, time, settlement, rebound and environmental conditions and stop at defined safety triggers. | Unauthorised entry | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |

# 3. Job Safety Analysis (JSA)

| Activity | Hazard | Consequence | Control | PIC |
| --- | --- | --- | --- | --- |
| Approve the test standard, reaction design, load cycle, acceptance criteria, exclusion zone and contingency plan. | Reaction failure | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Verify test-pile age and strength and independently inspect reaction beams, anchors, kentledge and foundations. | Kentledge collapse | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Install centred jacks, load cells and displacement gauges on stable reference beams outside the influence zone. | Stored hydraulic energy | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Apply seating load and test increments at the specified rate, holding each stage until reading criteria are met. | Sudden pile movement | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Record load, time, settlement, rebound and environmental conditions and stop at defined safety triggers. | Unauthorised entry | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |

# 4. Inspection Checklist

| No. | Inspection Item | What Must Be Checked | Status | Remarks / Evidence |
| --- | --- | --- | --- | --- |
| 1 | Test and reaction design | Confirm the test for test and reaction design uses the approved procedure, calibrated equipment, specified sampling location and required frequency. Record the measured result, acceptance limit, certificate number, witness or hold-point release and disposition of any failure. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 2 | Setup inspection | Inspect setup inspection for each defined work lot. Confirm the correct location, completeness, cleanliness, damage-free condition and compliance with the approved drawing, specification, manufacturer's requirement and agreed sample. Record the result and close defects before release. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 3 | Instrumentation | Inspect instrumentation for each defined work lot. Confirm the correct location, completeness, cleanliness, damage-free condition and compliance with the approved drawing, specification, manufacturer's requirement and agreed sample. Record the result and close defects before release. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 4 | Loading sequence | Confirm the test for loading sequence uses the approved procedure, calibrated equipment, specified sampling location and required frequency. Record the measured result, acceptance limit, certificate number, witness or hold-point release and disposition of any failure. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 5 | Readings and triggers | Inspect readings and triggers for each defined work lot. Confirm the correct location, completeness, cleanliness, damage-free condition and compliance with the approved drawing, specification, manufacturer's requirement and agreed sample. Record the result and close defects before release. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 6 | Report | Inspect report for each defined work lot. Confirm the correct location, completeness, cleanliness, damage-free condition and compliance with the approved drawing, specification, manufacturer's requirement and agreed sample. Record the result and close defects before release. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 7 | Work area released | Inspect work area released for each defined work lot. Confirm the correct location, completeness, cleanliness, damage-free condition and compliance with the approved drawing, specification, manufacturer's requirement and agreed sample. Record the result and close defects before release. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 8 | Final protection and handover | Inspect final protection and handover for each defined work lot. Confirm the correct location, completeness, cleanliness, damage-free condition and compliance with the approved drawing, specification, manufacturer's requirement and agreed sample. Record the result and close defects before release. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |

# 5. Material Checklist

| No. | Item | Approval Details | Condition Details | Certificate / Calibration Details | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Reaction beams and anchors | Match the approved material submission, technical data, manufacturer, product type, grade, size, colour where relevant, batch and intended location with the delivery documents. | Inspect identification, packaging, quantity, expiry where applicable, damage, deformation, corrosion, moisture, contamination and storage. Quarantine non-conforming material. | Check the mill or manufacturer's certificate, grade and batch or heat number, product certification and required independent test report; verify traceability to the installed location. |  |
| 2 | Kentledge blocks where used | Match the approved material submission, technical data, manufacturer, product type, grade, size, colour where relevant, batch and intended location with the delivery documents. | Inspect identification, packaging, quantity, expiry where applicable, damage, deformation, corrosion, moisture, contamination and storage. Quarantine non-conforming material. | Check the manufacturer's certificate of conformity, product data, batch or serial identification and any specified test report. State 'not applicable' only with the QA/QC representative's agreement. |  |
| 3 | Bearing plates | Match the approved material submission, technical data, manufacturer, product type, grade, size, colour where relevant, batch and intended location with the delivery documents. | Inspect identification, packaging, quantity, expiry where applicable, damage, deformation, corrosion, moisture, contamination and storage. Quarantine non-conforming material. | Check the manufacturer's certificate of conformity, product data, batch or serial identification and any specified test report. State 'not applicable' only with the QA/QC representative's agreement. |  |
| 4 | Reference beams | Match the approved material submission, technical data, manufacturer, product type, grade, size, colour where relevant, batch and intended location with the delivery documents. | Inspect identification, packaging, quantity, expiry where applicable, damage, deformation, corrosion, moisture, contamination and storage. Quarantine non-conforming material. | Check the manufacturer's certificate of conformity, product data, batch or serial identification and any specified test report. State 'not applicable' only with the QA/QC representative's agreement. |  |
| 5 | Survey targets | Match the approved material submission, technical data, manufacturer, product type, grade, size, colour where relevant, batch and intended location with the delivery documents. | Inspect identification, packaging, quantity, expiry where applicable, damage, deformation, corrosion, moisture, contamination and storage. Quarantine non-conforming material. | Check the manufacturer's certificate of conformity, product data, batch or serial identification and any specified test report. State 'not applicable' only with the QA/QC representative's agreement. |  |

# 6. Plant & Machinery Checklist

| No. | Item | Approval Details | Condition Details | Certificate / Calibration Details | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Hydraulic jacks | Confirm the make, model, capacity, working range and attachment suit the approved method, lifting plan or temporary works design. Verify the assigned operator is trained and authorised. | Complete the pre-start check: structure, guards, controls, emergency stop, brakes, tyres or tracks, hoses, cables, leakage, warning devices and housekeeping. Tag out defects before use. | Verify plant registration where required, current inspection and maintenance record, operator competency and any electrical safety tag or manufacturer's verification applicable to the item. |  |
| 2 | Calibrated load cells and gauges | Confirm the make, model, capacity, working range and attachment suit the approved method, lifting plan or temporary works design. Verify the assigned operator is trained and authorised. | Complete the pre-start check: structure, guards, controls, emergency stop, brakes, tyres or tracks, hoses, cables, leakage, warning devices and housekeeping. Tag out defects before use. | Verify the calibration or verification certificate matches the serial number, measurement range and accuracy required. Record calibration date, due date and pre-use functional check. |  |
| 3 | Dial gauges or displacement sensors | Confirm the make, model, capacity, working range and attachment suit the approved method, lifting plan or temporary works design. Verify the assigned operator is trained and authorised. | Complete the pre-start check: structure, guards, controls, emergency stop, brakes, tyres or tracks, hoses, cables, leakage, warning devices and housekeeping. Tag out defects before use. | Verify the calibration or verification certificate matches the serial number, measurement range and accuracy required. Record calibration date, due date and pre-use functional check. |  |
| 4 | Data logger | Confirm the make, model, capacity, working range and attachment suit the approved method, lifting plan or temporary works design. Verify the assigned operator is trained and authorised. | Complete the pre-start check: structure, guards, controls, emergency stop, brakes, tyres or tracks, hoses, cables, leakage, warning devices and housekeeping. Tag out defects before use. | Verify plant registration where required, current inspection and maintenance record, operator competency and any electrical safety tag or manufacturer's verification applicable to the item. |  |
| 5 | Survey level | Confirm the make, model, capacity, working range and attachment suit the approved method, lifting plan or temporary works design. Verify the assigned operator is trained and authorised. | Complete the pre-start check: structure, guards, controls, emergency stop, brakes, tyres or tracks, hoses, cables, leakage, warning devices and housekeeping. Tag out defects before use. | Verify the calibration or verification certificate matches the serial number, measurement range and accuracy required. Record calibration date, due date and pre-use functional check. |  |

# 7. Manpower Requirement

Project Manager

Site Engineer

QA/QC Engineer

Safety and Health Officer

Supervisor

Skilled workers / operators

General workers

# 8. Required PPE

Safety helmet

Safety footwear

High-visibility vest

Safety gloves

Eye protection

Hearing / respiratory / fall protection where required

# 9. Required Permits

Permit to work

Work-front release

Lifting permit where applicable

Excavation / hot-work / confined-space permit where applicable

Inspection release before covering

# 10. Applicable Standards

Contract documents and project specification

Approved drawings and coordinated shop drawings

Approved material submissions and manufacturer instructions

Applicable Malaysian law and authority requirements

Applicable JKR specification where contractually required

Current project-approved MS/BS/EN/ISO standards

# 11. Inspection Records

| No. | Reference / Title | Revision | Date | Status | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |

# 12. Testing Records

| No. | Reference / Title | Revision | Date | Status | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |

# 13. Reference Drawings

| No. | Reference / Title | Revision | Date | Status | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |

# 14. Document Register

| No. | Reference / Title | Revision | Date | Status | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |