WORK PACKAGE SUPPORTING DOCUMENTS

MS-TPL-001 — Pipe-Jacking Installation

| Project | [Insert project name] | Document No. | MS-TPL-001-WP |
| --- | --- | --- | --- |
| Contractor | [Insert contractor] | Revision | 0 |
| Location | [Insert location] | Date | [DD/MM/YYYY] |
| Prepared by | [Name / Position] | Approved by | [Name / Position] |

This editable workbook must be adapted to the contract, approved drawings, project specification, actual site conditions, materials, equipment and authority requirements.

# 1. Inspection and Test Plan (ITP)

| Activity | Inspection / Test | Acceptance Criteria | Responsibility | H/W | Record |
| --- | --- | --- | --- | --- | --- |
| Approve alignment, shaft design, face support, jacking-force calculation, lubrication and settlement controls. | Design and permits | Approved drawings, specification and submission | Site Engineer / QA/QC | H | IR / Checklist / Test Record |
| Construct and release launch and reception shafts, thrust wall, guide rails and safe confined-space access. | Shaft and thrust wall | Approved drawings, specification and submission | Site Engineer / QA/QC | W | IR / Checklist / Test Record |
| Set the shield and first pipe to survey control and verify laser guidance, seals and spoil system. | Machine setup | Approved drawings, specification and submission | Site Engineer / QA/QC | W | IR / Checklist / Test Record |
| Excavate and jack in controlled strokes while recording face condition, force, line, level and ground response. | Jacking record | Approved drawings, specification and submission | Site Engineer / QA/QC | W | IR / Checklist / Test Record |
| Install each pipe and joint, lubricate the annulus and operate intermediate stations before force limits are reached. | Pipe joints and force | Approved drawings, specification and submission | Site Engineer / QA/QC | W | IR / Checklist / Test Record |
| Break through safely, recover the shield, grout the annulus and complete survey, leakage testing and shaft works. | Breakthrough and completion | Approved drawings, specification and submission | Site Engineer / QA/QC | H | IR / Checklist / Test Record |

# 2. HIRARC

| Activity | Hazard | Consequence | Control | PIC |
| --- | --- | --- | --- | --- |
| Approve alignment, shaft design, face support, jacking-force calculation, lubrication and settlement controls. | Confined space | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Construct and release launch and reception shafts, thrust wall, guide rails and safe confined-space access. | Face collapse | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Set the shield and first pipe to survey control and verify laser guidance, seals and spoil system. | High jacking force | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Excavate and jack in controlled strokes while recording face condition, force, line, level and ground response. | Flooding | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Install each pipe and joint, lubricate the annulus and operate intermediate stations before force limits are reached. | Ground settlement | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |

# 3. Job Safety Analysis (JSA)

| Activity | Hazard | Consequence | Control | PIC |
| --- | --- | --- | --- | --- |
| Approve alignment, shaft design, face support, jacking-force calculation, lubrication and settlement controls. | Confined space | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Construct and release launch and reception shafts, thrust wall, guide rails and safe confined-space access. | Face collapse | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Set the shield and first pipe to survey control and verify laser guidance, seals and spoil system. | High jacking force | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Excavate and jack in controlled strokes while recording face condition, force, line, level and ground response. | Flooding | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Install each pipe and joint, lubricate the annulus and operate intermediate stations before force limits are reached. | Ground settlement | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |

# 4. Inspection Checklist

| No. | Inspection Item | What Must Be Checked | Status | Remarks / Evidence |
| --- | --- | --- | --- | --- |
| 1 | Design and permits | Inspect design and permits for each defined work lot. Confirm the correct location, completeness, cleanliness, damage-free condition and compliance with the approved drawing, specification, manufacturer's requirement and agreed sample. Record the result and close defects before release. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 2 | Shaft and thrust wall | Inspect shaft and thrust wall for each defined work lot. Confirm the correct location, completeness, cleanliness, damage-free condition and compliance with the approved drawing, specification, manufacturer's requirement and agreed sample. Record the result and close defects before release. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 3 | Machine setup | Inspect machine setup for each defined work lot. Confirm the correct location, completeness, cleanliness, damage-free condition and compliance with the approved drawing, specification, manufacturer's requirement and agreed sample. Record the result and close defects before release. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 4 | Jacking record | Inspect jacking record for each defined work lot. Confirm the correct location, completeness, cleanliness, damage-free condition and compliance with the approved drawing, specification, manufacturer's requirement and agreed sample. Record the result and close defects before release. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 5 | Pipe joints and force | Check pipe joints and force against the approved material submission and delivery documents. Confirm manufacturer, type, grade, size, batch, quantity, identification, storage and visible condition before the material is incorporated into the work. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 6 | Breakthrough and completion | Inspect breakthrough and completion for each defined work lot. Confirm the correct location, completeness, cleanliness, damage-free condition and compliance with the approved drawing, specification, manufacturer's requirement and agreed sample. Record the result and close defects before release. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 7 | Work area released | Inspect work area released for each defined work lot. Confirm the correct location, completeness, cleanliness, damage-free condition and compliance with the approved drawing, specification, manufacturer's requirement and agreed sample. Record the result and close defects before release. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 8 | Final protection and handover | Inspect final protection and handover for each defined work lot. Confirm the correct location, completeness, cleanliness, damage-free condition and compliance with the approved drawing, specification, manufacturer's requirement and agreed sample. Record the result and close defects before release. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |

# 5. Material Checklist

| No. | Item | Approval Details | Condition Details | Certificate / Calibration Details | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Jacking pipes | Match the approved material submission, technical data, manufacturer, product type, grade, size, colour where relevant, batch and intended location with the delivery documents. | Inspect identification, packaging, quantity, expiry where applicable, damage, deformation, corrosion, moisture, contamination and storage. Quarantine non-conforming material. | Check the mill or manufacturer's certificate, grade and batch or heat number, product certification and required independent test report; verify traceability to the installed location. |  |
| 2 | Lubricant and bentonite | Match the approved material submission, technical data, manufacturer, product type, grade, size, colour where relevant, batch and intended location with the delivery documents. | Inspect identification, packaging, quantity, expiry where applicable, damage, deformation, corrosion, moisture, contamination and storage. Quarantine non-conforming material. | Check the manufacturer's certificate of conformity, product data, batch or serial identification and any specified test report. State 'not applicable' only with the QA/QC representative's agreement. |  |
| 3 | Joint seals | Match the approved material submission, technical data, manufacturer, product type, grade, size, colour where relevant, batch and intended location with the delivery documents. | Inspect identification, packaging, quantity, expiry where applicable, damage, deformation, corrosion, moisture, contamination and storage. Quarantine non-conforming material. | Check the manufacturer's certificate of conformity, product data, batch or serial identification and any specified test report. State 'not applicable' only with the QA/QC representative's agreement. |  |
| 4 | Intermediate jacking stations | Match the approved material submission, technical data, manufacturer, product type, grade, size, colour where relevant, batch and intended location with the delivery documents. | Inspect identification, packaging, quantity, expiry where applicable, damage, deformation, corrosion, moisture, contamination and storage. Quarantine non-conforming material. | Check the manufacturer's certificate of conformity, product data, batch or serial identification and any specified test report. State 'not applicable' only with the QA/QC representative's agreement. |  |
| 5 | Annulus grout | Match the approved material submission, technical data, manufacturer, product type, grade, size, colour where relevant, batch and intended location with the delivery documents. | Inspect identification, packaging, quantity, expiry where applicable, damage, deformation, corrosion, moisture, contamination and storage. Quarantine non-conforming material. | Check the manufacturer's certificate of conformity or analysis, batch number and shelf life; retain the safety data sheet, delivery docket and specified test results. |  |

# 6. Plant & Machinery Checklist

| No. | Item | Approval Details | Condition Details | Certificate / Calibration Details | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Jacking frame and cylinders | Confirm the make, model, capacity, working range and attachment suit the approved method, lifting plan or temporary works design. Verify the assigned operator is trained and authorised. | Complete the pre-start check: structure, guards, controls, emergency stop, brakes, tyres or tracks, hoses, cables, leakage, warning devices and housekeeping. Tag out defects before use. | Verify plant registration where required, current inspection and maintenance record, operator competency and any electrical safety tag or manufacturer's verification applicable to the item. |  |
| 2 | Excavation shield | Confirm the make, model, capacity, working range and attachment suit the approved method, lifting plan or temporary works design. Verify the assigned operator is trained and authorised. | Complete the pre-start check: structure, guards, controls, emergency stop, brakes, tyres or tracks, hoses, cables, leakage, warning devices and housekeeping. Tag out defects before use. | Verify plant registration where required, current inspection and maintenance record, operator competency and any electrical safety tag or manufacturer's verification applicable to the item. |  |
| 3 | Slurry or spoil-removal system | Confirm the make, model, capacity, working range and attachment suit the approved method, lifting plan or temporary works design. Verify the assigned operator is trained and authorised. | Complete the pre-start check: structure, guards, controls, emergency stop, brakes, tyres or tracks, hoses, cables, leakage, warning devices and housekeeping. Tag out defects before use. | Verify plant registration where required, current inspection and maintenance record, operator competency and any electrical safety tag or manufacturer's verification applicable to the item. |  |
| 4 | Laser guidance | Confirm the make, model, capacity, working range and attachment suit the approved method, lifting plan or temporary works design. Verify the assigned operator is trained and authorised. | Complete the pre-start check: structure, guards, controls, emergency stop, brakes, tyres or tracks, hoses, cables, leakage, warning devices and housekeeping. Tag out defects before use. | Verify plant registration where required, current inspection and maintenance record, operator competency and any electrical safety tag or manufacturer's verification applicable to the item. |  |
| 5 | Communication and gas-monitoring equipment | Confirm the make, model, capacity, working range and attachment suit the approved method, lifting plan or temporary works design. Verify the assigned operator is trained and authorised. | Complete the pre-start check: structure, guards, controls, emergency stop, brakes, tyres or tracks, hoses, cables, leakage, warning devices and housekeeping. Tag out defects before use. | Verify plant registration where required, current inspection and maintenance record, operator competency and any electrical safety tag or manufacturer's verification applicable to the item. |  |

# 7. Manpower Requirement

Project Manager

Site Engineer

QA/QC Engineer

Safety and Health Officer

Supervisor

Skilled workers / operators

General workers

# 8. Required PPE

Safety helmet

Safety footwear

High-visibility vest

Safety gloves

Eye protection

Hearing / respiratory / fall protection where required

# 9. Required Permits

Permit to work

Work-front release

Lifting permit where applicable

Excavation / hot-work / confined-space permit where applicable

Inspection release before covering

# 10. Applicable Standards

Contract documents and project specification

Approved drawings and coordinated shop drawings

Approved material submissions and manufacturer instructions

Applicable Malaysian law and authority requirements

Applicable JKR specification where contractually required

Current project-approved MS/BS/EN/ISO standards

# 11. Inspection Records

| No. | Reference / Title | Revision | Date | Status | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |

# 12. Testing Records

| No. | Reference / Title | Revision | Date | Status | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |

# 13. Reference Drawings

| No. | Reference / Title | Revision | Date | Status | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |

# 14. Document Register

| No. | Reference / Title | Revision | Date | Status | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |